SITE SPECIFIC RECOMMENDATIONS

EAST 	REGION:	South District

LOCATION		Totts 																Ward 13

| INVENTORY # | BUILT | DEFICIENCIES | RECOMMENDATIONS | COST ESTIMATE |  |  | OTHER |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DESCRIPTION |  |  |  | REPAIRS | LABOUR | BASE | CONSIDERATIONS |
| PLG01SSM - 040 |  | -improper seats | -replace | 240 | 2 |  |  |
| 4 Baby |  | -S-hooks | -replace | 10 | 1 |  |  |
| PLG02SSM -040 |  | -improper spacing | -remove two, adjust spacing |  | 1 |  |  |
| 4 Belt |  | -S-hooks | -replace | 10 | 1 |  |  |
|  |  | -hanger bearings | -replace | 80 | 2 |  |  |
| PLG03SST -040 |  | -not up to standard | -remove & replace with straight slide | 2000 | 8 |  |  |
| Climber & Slide |  |  |  |  |  |  |  |
| PLG04CLM - 040 |  | -barriers | -picket egress / access | 200 | 4 |  |  |
| Billy Goat Climber |  | -slide width | -modify add middle bar | 400 | 4 |  |  |
| PLG05TTM - 040 |  | -improper spacing | -remove one, adjust spacing |  | 1 |  |  |
| Triple Teeter Totter |  | -cushioning | -add rubber to bottom of seats | 150 | 3 |  |  |
| PLG06SST - 040 |  | -not up to standard | -remove & replace | 2000 | 8 |  |  |
| Sr. Straight Slide |  |  |  |  |  |  |  |
| Base Material |  | -compacted | -rototill ,add base material 88T |  | 8 | 1320 |  |
|  |  | -non sufficient safety zone | -excavate |  | 8 | 1500 |  |
|  |  |  |  | 5090 | 51 | 2820 |  |

File Name: K:\SCARB\WARD-13\TOTTS.WPD